## Slide 1: Mid term report
Agi Koszorus
Promotor: Gerda Neyens
26.06.2017

## Slide 2: Overview
Arenberg doctoral school
First year
Second year
Teaching duties
Timeline
Outlook

## Slide 3: Arenberg doctoral school

## Slide 4: Arenberg doctoral school
Compose supervisory committee
Blueprint doctoral training
Seminar scientific integrity
Teacher assistant training
Science communication and outreach
Mid term report
Academic English: writing and presentation skills

## Slide 5: First year
Main project
Work @ CRIS

## Slide 6
Pulsed Ti:sa ring cavity – slave laser
CW Ti:sa laser – master laser
High power pulses with spectral properties of the cw light
Efficient higher frequency generation
First year – main project

## Slide 7
Injection locked laser has been successfully used in the neutron-rich Cu and In experiment at CRIS
Working with Ti:sa and dye lasers at CRIS
  Setting up for experiment
  Maintenance
  Higher harmonic generation
Basic knowledge of the beamline
First data analysis
Planning an experiment at CRIS
First year

## Slide 8: Second year
Main project
Preparations for In
Preparations for K
Data analysis

## Slide 9: Second year
Stable frequency reference  Hyperfine transition
Spectroscopy of K or Rb
Diode laser
Vapor cell filled with K, Rb and Cs
Locking electronics
FPI (1 or more)
Wavemeter
Stable frequency reference

## Slide 10
experiment
PD – photodiode
M – mirror
λ/2 – half-wave plate
PBS – polarising beam splitter cube
FL – fiber launch
– fiber
– laser beam
COSY – saturation spectroscopy module
λ/2
M
M
M
M
M
M
PD
PD
Wavelength meter
COSY
FPI 1 GHz
DIODE LASER
CW laser
PBS
PBS
Pockells cell
M
λ/2
FL
10%
90%
50%
50%
FPI 620 MHz
PD
PD
PBS
λ/2

## Slide 11: In experiment
Offline test with the versatile ion source : Ablation of In
  3 transitions offline
  1064 nm ionizing step
  tripled Ti:sa light as a scanning step (injection locked laser)
First online test of the laser stabilization system
2P1/2
2P3/2
4P5/2
92S1/2
82S1/2
246 nm
246,8 nm
283 nm
1.
2.
3.
1. | 2. | 3.
Looking for HFS | Small structure | Very big HFS
Small HFS Overlapping peaks | Overlapping peaks | Unstable laser

## Slide 12: In experiment
2 transitions online
113-131In
Quadrupole and magnetic moments
Isotope shifts
High spin isomers
Laser stabilization test
  400 MHz drift
  Reduced to 50 MHz
  (~15 MHz in fundamental)

## Slide 13: K experiment
IS620 52,53K
Spin, magnetic moment,
isotope shift
“Magic numbers” N=32,34

## Slide 14: K experiment
Setting up lasers
Laser stabilization
Offline test
  Timing of laser pulses
  Laser power
  1 and 2 Pockels cells
  Charge exchange efficiency
  Saturation curves
  Efficiency
MY INVOLVEMENT:

## Slide 15
FWHM 153 MHz
FWHM 47 MHz
Previous study of laser timings at CRIS
R. P. de Groote at al. PRL 2015
Simulation of the hyperfine
Spectrum of 39K (FWHM 40 MHz)
Offline tests

## Slide 16
Offline tests
Saturation of transitions
1st step
2nd step
3rd step
3rd step power was 5-8 times higher during the experiment

## Slide 17: FPI for higher precision
Standard deviation : 0.4410 MHz
Standard deviation : 1.2357 MHz
1 GHz FPI
Injection locked laser

## Slide 18: K experiment  online test
Experiment postponed due to bad target
  Nothing shortlived, high contamination
  38,39,40,41,42,43,44,45,46,47,48,49K
PLAN B
  Online preparation for the K experiment at CRIS
  Low resolution and high resolution measurements
  Contamination, background
  Stability of the system
  Isotope shifts
  line shapes

## Slide 19: K experiment
Summary
Optimal laser timings for search mode and high resolution mode
Optimal laser power
Stable laser system
Reliable laser stabilization system
Offline efficiency 1 in 300
Online efficiency 1 in 500
No new results
Systematic studies

## Slide 20: Data analysis
Data obtained in the neutron rich Ra experiment at CRIS
Offline data from the In test
K offline tests
K online test
In-depth study of the line shapes

## Slide 21: Teaching duties

## Slide 22
2nd year students
PIPS as charged particle detectors, Basic Experimental Techniques in Physics, Vincent Verelst and Sander Belmans, 2015-2016
3rd year students
Laser beam simulations through optical systems, Victor Vereet and Max Schonlank 2015-2016
Charge radii of Ra isotopes, Vincent Verelst and Matthias Rasschaert, 2016-2017
Master student
Laser spectroscopy of Ra isotopes, Dries De Maesschalck, 2016-2017

## Slide 23: Timeline

## Slide 24: Time line
This year:
Data analysis of the K offline and online test
ECT* Talent school
Preparation for the neutron deficient In and Sn
Ga experiment
Moving to CERN
In-depth study of the K and Sn regions
Theoretical background

## Slide 25: Timeline
Next year:
K experiment
Data analysis
Publishing
Presenting our work at conferences
2019:
Start writing my thesis